DRAFT

SAFETY HANDBOOK

FOR

GREENBERRY CONSTRUCTION LTD.

This template is intended give you a general idea of the sort 
of information that should be included in a Safety Handbook 
for a construction company. Both the content and level of 
detail will need to be adapted to suit each individual business.

YOUR GUIDE TO SAFETY

This simple, easy-to-read ‘Safety Handbook’ is a common-sense practical guide to health and safety at our construction sites.

It aims to promote a greater awareness of health and safety issues among you and your colleagues.

Please take the time to read this booklet: and then put it in a safe place for future reference.

We want to make our sites completely safe for everyone – not just for you and your co-workers but also for sub-contractors, customers and other visitors. But we simply cannot do this without your full co-operation and enthusiasm.

So let’s work together to put these simple, sound safety principles into practice every day from now on.

In that way, you can help to make sure that our sites are the safest in the country.

If you have any queries about the information in this Handbook, please don’t hesitate to raise them with your Site Safety Officer or with me.

Albert Murphy
Safety Director

Greenberry Construction Ltd.

TABLE OF CONTENTS

Page No.

Safety at Greenberry Construction Ltd.	5

Legal Duties of Employees	5
Safety in the Construction Industry	5
Summary of General Safety Rules	6
Manual Handling	6
Personal Protection Equipment (PPE)	7
Housekeeping	7
Hand Tools		7
Electrical Safety	7
Power Tools	9
Other Machinery	9

Ladders		10

Drink & Drugs Policy	12

Personal Stereos & Mobile Phones	12

Noise	13

Vibration	14

Abrasive Wheels	15

Burning & Welding	15
Major Hazards on Sites	16

PART 1: SAFETY AT GREENBERRY CONSTRUCTION LTD.

- OUR COMMITMENT TO HEALTH & SAFETY

The Safety, Health and Welfare at Work Act, 2005 requires us to protect, within reason, the safety and well-being of our employees. 

We are also obliged to take steps to safeguard anyone else – such as contractors, customers, members of the public etc. – who may be hurt by our activities.

Quite apart from these legal duties, we have a moral obligation to prevent accidents and other mishaps at work. 

As a responsible Company, we fully believe that:

- All accidents are preventable;

- Safety is a critical part of our business – it’s just as important to us as production, cost control etc.

- Our sites should be safe for everyone

We also recognise that the best way to make the workplace safer is for both you and us – employees and employer – to work closely together on all health and safety issues.

That won’t always be easy. Safety requires a huge amount of time, effort and commitment by all concerned. What’s more, it always involves lots of change. 

All of us need to re-assess the way we’ve done things in the past and, if required, replace old habits with new, safer work practices. 

Sometimes, that can be difficult – but the rewards are great. Because, by making strenuous efforts now, we will eventually achieve our common goal of creating a truly safe and healthy work place for everyone here at Greenberry Construction Ltd.

- OUR SAFETY STATEMENT

We have recently up-dated our ‘Safety Statement’. That’s the workplace safety programme that we must, by law, prepare.

This specifically sets out what we will do to make your job and workplace safer.

A copy of the Statement is readily available on each site for you to read.

Though the ‘Safety Statement’ is a bit more detailed than this Handbook, we’d strongly urge you take the time to carefully study it.

- LEGAL DUTIES OF WORKERS,

The law on health and safety doesn’t just apply to employers. You, too, have a major role to play. All employees have a duty to take care of themselves, their co-workers and any other people who may be badly affected by what they do.

Among other things, you are required, by law:

- To take reasonable care for your own health and safety

- To co-operate with us on health and safety matters

- Not to be under the influence of any intoxicant that could endanger you or anyone else

- Not to engage in improper conduct that could endanger you or anyone else

- Participate in safety and health training provided by us

- To wear the protective equipment supplied

- Not to interfere with or misuse any safety devices

- To report any defects in the workplace, equipment etc. that might cause harm

- MAJOR CAUSES OF WORK-RELATED ACCIDENTS

Four out of five lost-time accidents on construction sites are caused by the following:

- Manual handling, lifting or carrying

- Slips, trips and falls on same level

- Use of hand tools

- Falling objects

- Falls from height

- Contact with moving parts of machinery

The first two alone account for more than 40% of all injuries.

If you were to concentrate on the six causes listed above – and take the simple precautions recommended in this Handbook – you would do a lot to protect yourself and your colleagues from serious harm.

SUMMARY OF GENERAL SAFETY RULES

Always:

- Use the recommended safety gear

- Learn safe manual handling techniques

- Keep your work area neat and tidy

- Clean up as you go.  Don’t leave it to others

- Keep fire exits clear

- Select the right tool for the job – and use it correctly and safely

- Use only machines and equipment that you are trained to use

- Keep electric cables away from moving blades

- Watch for overhead power lines

- Report accidents, ‘near-misses’, breakdowns and defects to your supervisor

- Obey all warning signs

- Switch off machines when not in use

- Have minor injuries attended to by a trained first-aider

- Avoid contact with known skin irritants (e.g. concrete, solvents etc)

- Wear a face mask or respirator to prevent inhalation of harmful fumes.

- Always wash your hands after using chemicals

Never:

- Take short cuts and chances

- Leave anything lying around where it could cause someone to trip

- Use a ladder unless it is in sound condition and well secured

- Disturb others who are using machinery.

- Use faulty equipment

- Carry out electrical repairs (unless you are a qualified electrician)

- Clean a machine or make adjustments while the equipment is still running

Never

- Get involved in horseplay

- Use vibrating power tools for long periods

- Misuse plant, tools or equipment

- Use makeshift equipment

- Alter or dismantle scaffolding

MANUAL HANDLING

About one quarter of all work accidents happen while employees are lifting or carrying something. It is the greatest cause of lost time at work.

Learn safe lifting techniques!

Safety Tips

- Stand close to the load.

- Position your feet about the width of your hips apart.

- Bend your knees and keep your back straight

- Grasp the load firmly. Make sure that the grip is by the roots of the fingers and palm of the hand.

- Lift using your strong leg muscles – not your back

- Never lift a load that’s too heavy or bulky – GET HELP!

Before any lifting or carrying is done:

- Test the load first. If it’s too heavy, get help

- Where possible, mechanical lifting equipment should be used.

- Look out for sharp edges, splinters etc. Use gloves where necessary

- Make sure that your planned route is clear of obstructions and tripping hazards.

- See to it that there is an area cleared to receive the load.

- Don’t let the load obstruct your view.

SLIPS, TRIPS AND FALLS

Almost all of these are caused by poor housekeeping.

- Safety Tips:

- Keep your work area neat and tidy: and free from waste materials.

- Clean up as you go.  Don’t leave it to others.

- Never leave anything lying around where it could cause someone to trip

- Remove surplus materials and store them safely. Put away unwanted tools.

- Keep all walkways, working platforms, stairs etc. clear from rubbish

- Put rubbish in the skips provided.

- Never drop rubbish or materials from a height. Where appropriate, use a chute. 

Bulky items can be put into bundles/ containers and lowered safely to ground level.

- Don’t leave protruding nails in timbers. Remove them (or knock them back)

- Each day, before leaving work, make a special effort to tidy up.

- Where possible, keep working areas level

- Ramps should be kept dry – and have non-skid surfaces

HAND TOOLS

The abuse and misuse of hand tools often result in serious injuries e.g. amputation of fingers, deep cuts, blinding, etc. 

Safety Tips:

- Select the right tool for the job – and use it correctly and safely

- Wear the required personal protection equipment (e.g. use eye protection while chiselling, hammering nails etc.)

- Before using hand tools, think about the safety of other workers who may be near you.

- Make sure that tools are in good working condition.

Look out for things like:

- Chisels with ‘mushroomed’ heads

- Damaged heads/ shafts on hammers

- Screwdrivers with worn ends

- Files without handles etc.

Faulty tools should be replaced.

- When carrying tools:

- Use a pouch or purpose-made belt

- Keep the sharp edge away from the body

- Never carry pointed tools in any pocket

- Tools must not be dropped or thrown from one worker to another.

- Store tools safely when not in use

PORTABLE POWER TOOLS

Power tools should be treated with respect. They can be dangerous if not used properly.

- Use only 110V systems, which are centre tapped to earth, so the maximum electric shock they can give is 55 volts.

- Use only tools that are properly earthed or double-insulated.

- Temporary electrical supplies must be installed to a prescribed standard. Makeshift arrangements are not allowed.

- Unplug the power tool before changing blades, heads, parts etc.

- Make sure the tool is switched off before plugging it in

- Don’t put a tool down until it has stopped operating

- Keep electric cables away from moving blades.

- Switch off and unplug equipment and flexible cables when not in use

- Electric tools are not to be used when the operator is wet or standing on wet ground or flooring.

- Make sure that all power tools are checked and maintained.

- Don’t disturb others while they are using power tools

- Keep moving parts pointing away from you

ABRASIVE WHEELS & DISCS

Abrasive wheels (such as grinders and sanders) can disintegrate if they are incorrectly fitted or used, causing a risk of serious injury to the user and others nearby.  

Safety Tips

- Only trained personnel are legally allowed to use abrasive wheel equipment.

- Select the right wheel / disc for the job (e.g. Don’t use a cutting wheel for grinding or vice-versa)

It should be mounted securely – in the correct rotation direction (as per the manufacturer’s instruction)

- Check the maximum allowable speed of the wheel/ disc against the speed of the machine.

- Inspect the wheel / disc for cracks or scratches before each use. Replace if defective.

- The guard must be so positioned to cover a substantial portion of the rotating wheel / disc.

- Use suitable protective equipment (e.g. goggles, ear protection, masks, gloves etc.)

Do not position yourself directly behind the wheel / disc but to one side of it.

- Use a 'back and forth' cutting action to avoid jamming, grinding, and excessive side pressure on the rotating wheel/ disc.

- Concentrate fully on the material being cut. Make sure the wheel / disc does not make contact with anything else.

- Abrasive wheels and discs should be stored upright in a dry area. Don’t allow different types of wheels / discs to become mixed.

CARTRIDGE OPERATED TOOLS

- Only trained personnel should use cartridge tools

- There should be strict controls on the issue, safe use and return of such equipment.

Full responsibility for usage, storage and maintenance should be assigned to a competent, named person.

- The manufacturer’s instructions / guidelines should be readily available.

- Always check the suitability of the material for cartridge fixing

If you’re unfamiliar with the material, make a trial fixing using a low-powered cartridge or hammer.

- Check the place behind the firing/ fixing target and prevent people getting into the danger area

- Tools should be at right angles to the surface

- The entire rim of the splinter guard should be set firmly against the work face

- Protective equipment (e.g. goggles, ear protection, gloves etc.) must be used

- Tools should be unloaded during storage

- Cartridges of different strengths should be separately stored and clearly marked

LADDERS

Always make sure that the ladder is:

- Right for the job

- In good shape

- Clean

- Secure near the top

- On a firm base and footing

- Used at the proper angle (75° i.e. ‘one out – four up’)

- Rising at least 1 metre (3ft. 3in.) beyond the landing place

Remember:

- Always have a firm grip on the ladder

- Keep a good balance – never lean sideways

- Use a tool-carrying bag or pouch to leave both hands free to hold ladder.

- Never use a makeshift ladder

- Only one person is allowed on a ladder at a time.

- Footing is ineffective for ladders longer than 5 metres (They need to be securely fixed)

SCAFFOLDS

- Scaffolding is a specialist job. Only trained, certified scaffolders should do it.

Never alter or remove any part of a scaffold. Leave that task for an experienced scaffolder.

- Every effort should be taken to prevent falls (of either people or materials).

- Scaffold platforms should always:

- Have suitable and sufficient handrails, mid-rails, toe boards and brick guards

- Be fully boarded – without any gaps – using sound materials

- Use a ladder or stairs for safe access. Makeshift ‘hop-ups’ (e.g. milk crates, pallets, drums etc.) should not be used.

Don’t climb up the uprights of the scaffold.

- Platforms should be kept tidy. Never leave loose materials or tools lying around.

- Materials should be stacked safety near uprights – not in the centre of the platform.

- Don’t overload the platform. Limit the quantity of materials on it.

- Never use an unsafe scaffold. If you spot a problem (e.g. missing handrail, defective board, overloading etc) report it immediately to your supervisor or site safety officer.

ROOF WORK

- By its very nature, roof level work is potentially very dangerous. You need to have the right knowledge and experience to do it safely.

- Make sure you have a safe way of getting to and from roof level (e.g. scaffold, ladder etc.) and proper protection to stop you falling off the edge.

- Where possible, physical safeguards (e.g. working platforms with guardrails, toe boards and barriers) should be provided. This is the best way of preventing falls.

If this isn’t practicable, fall arrest systems (e.g. safety nets, harnesses) must be used.  But this option is only second-best.

- Always inspect a roof before you walk on it.

- Assume that all roof coverings are fragile unless a competent person confirms otherwise.

Never trust sheeted roofs: and never work directly on slates or tiles.

- You must use purpose-made roof ladders / crawling boards on fragile and sloping roofs. These help to spread the weight of workers and materials.

- All roof openings should be covered and clearly marked.

- Be aware of overhead power lines.

- Don’t throw materials (e.g. old slates or tiles) from the roof / working platform.

EDGE PROTECTION

- Make sure that your working area has proper edge protection in position.

- Don’t stack site materials in a place where they could easily be knocked over any edge or over any edge protection.

- If edge protection is removed for essential works to be done, make sure that it’s put back into position immediately afterwards.

DEMOLITION

- Demolition work should only be done under the supervision of a competent person.

- Wear the correct PPE – including safety helmet, safety boots, high visibility vest, dust masks, gloves, eye protection etc.

- Cordon off the demolition area (and surrounding areas if necessary) to protect the public.

- Before starting, double check with site management that all services (e.g. ESB, gas, water etc.) have been cut off.

- Only work from safe working platforms (e.g. scaffolds etc.) that you can safely get to and from.

- Make sure that there’s adequate shoring to prevent collapse of the structure being demolished (and adjacent structures)

Temporary supports must be adequate for the job.

- Don’t enter a building if it looks unsafe.

- Never remove any structural part of the building (e.g. beams, columns, lintels, floors, concrete stairs etc) without first obtaining permission from your supervisor. 

If in doubt, check it out.

- Never demolish walls, floors etc adjacent to other workers.

- Demolition debris must be cleared away at regular intervals. Don’t allow it to overload floors, supporting structures etc.

- Keep footpaths and roads free of debris.

- Rapid escape routes must be maintained in case of emergency.

- Fire fighting equipment should be readily available.

- Proper dust control measures must be in place (e.g. water sprayers, temporary enclosures etc.)

- If you come across asbestos materials (e.g. in pipe lagging, roofing etc), don’t disturb them – and tell your supervisor right away.

- Where mobile plant is used, a competent banksman should be available as required.

ELECTRICAL SAFETY

- All site voltage should be 110v.

- Only qualified electricians are permitted to carry out any electrical work.

- Never use damaged or makeshift equipment. Report any defects to your supervisor.

- Screened cables and residual current devices must be provided where necessary.

- Any transformers used must be placed at the power source.

- Never overload plugs or cables.

- All connections to power points must be made by proper plugs.

- Protect cables that cross walkways, site roadways etc.

- Keep trailing cables away from water.

See also sections on Portable Power Tools and Overhead Power Lines

WELDING AND CUTTING

General Rules

- Never use welding / cutting equipment unless you have been trained and authorised to do so.

- Make sure the workplace is safe before starting. Follow the Company’s ‘hot work’ rules. 

You may need a Work Permit.

- Always follow good welding practice.

- Inspect welding equipment before and after use. Never use worn or damaged equipment. Report it immediately to your supervisor/ site safety officer.

- Be aware of the materials you are welding/ cutting.

- Never use welding equipment in unventilated or confined spaces. Use fume extraction equipment when necessary.

- Always wear the full protective equipment available – visor, goggles, overalls, gloves, welding sleeves, apron and proper footwear.

- Store welding equipment safely.

Hot Work Rules

Take the following precautions during and after any ‘hot’ work:

- Remove all loose combustible material from the surrounding area;

- If work takes place on one side of a wall or partition, check the other side for combustible materials;

- Protect any combustible material which cannot be removed;

- Have suitable fire extinguishers near at hand;

- During the work – and for one hour after it’s finished – examine the area thoroughly, and at regular intervals, for any evidence of fire.

Gas Cutting / Welding – Specific Rules

- Gas cylinders should be kept in an upright position and secured in a bottle trolley

- Make sure that non-return valves and flame arresters are fitted.

- Keep hose lengths to a minimum to avoid damage.

- Have the bottle set close to your work area – and never on another floor level.

- Make sure that pressure gauges are working properly.

- The cutting torch must be clean – free of grit, grease and oils.

- Each cylinder should be properly labelled

- Hoses should be colour-coded as follows:

  - Blue – oxygen

  - Red – acetylene

  - Orange – propane

- Use a proper valve key. Never apply extra leverage to open or close a bottle.

- Always turn valve off at the cylinders after use.

- Use a bottle trolley to transport bottles. Never pull them by the valve along the ground or roll them.

- Store oxygen and acetylene and other fuel gases in a separate area. Empty and full bottles should be segregated.

Electric Welding – Specific Rules

- Make sure that the insulation on the leads is intact and cannot cause shorting or arcing away from the working area.

- Electrical equipment should be properly earthed. Makeshift arrangements won’t do.

MECHANICAL LIFTING OPERATIONS

General

- Only trained, authorised people are allowed to:

  - Operate cranes, teleporters, fork-lifts and other mobile equipment

  - Act as slingers and banksmen.

- All lifting gear (e.g. chains, slings etc) must be of good construction, sound material and free from defect.

- Immediately report any defects found – and remove defective gear from service at once.

- Never exceed the safe working load of machines or tackle. 

If you’re doubtful about the weight of a load or the adequacy of the equipment, then don’t lift it.

- Always stand clear of a load when it is about to be lifted.

- Ensure that loads cannot fall from a high level when using lifting machines like lifts, hoists, cranes.

- Never allow anyone to be carried with a load.

- Loads should not be carried over or close to where people are working.

Banksmen and Slingers

- Never use: makeshift, damaged or worn equipment; chains shortened with knots; linked or twisted wire ropes; frayed or rotted fibre ropes. 

A wire rope must not be used if more than five percent (one in twenty) of the wires can be seen to be broken in any ten centimetre lengths.

- All loads, irrespective of their shape or size, must be slung so that their centre of gravity falls immediately below the crane hook. 

Slings may need to be of different lengths to achieve proper balance.

- Remember the load in the legs of a sling increases as the angle between the legs increases.

- Before lifting an unbalanced load, find out its centre of gravity, raise it slightly off the ground and check that nothing goes wrong.

If you need to steady or guide the load, use a rope.

- Once the load is lifted, stand clear. Make sure that no other person is in danger before proceeding.

- Make sure the driver can see you. Never stand between the hook and driver.

- Use a recognised signalling system. If the driver appears not to understand a signal, stop him and then repeat the signal.

- Always wear a high visibility jacket/ vest.

- Use suitable packing to protect slings from damage by sharp edges of loads

- Don’t allow tackle to be damaged by being dropped or dragged from under a load.

MOBILE PLANT

General

- Never use a machine unless you are trained and authorised to do so. You must have a current, valid CSCS card.

- The machine operator is fully responsible for the safe use of the machine.

- Know how to correctly stop the machine before you start it.

- Carry out a daily check to make sure that the brakes, steering, tyres, warning siren etc are in good working order.

- Keep windows, mirrors, lights etc clean.

Before Starting:

- Make sure that you’ve good all-round visibility from your cab (particularly in poor/ cold weather conditions).

- Sit in the operator’s seat, in full control of the levers, before operating the starting switch.

- Make sure that all pressure gauges have reached their safe working ranges.

- Double check that there’s no one behind, beneath or in front of the machine.

Travelling

- Keep a safe distance from all people, buildings, scaffoldings, excavations and other plant along your route.

- Your speed must never exceed 15mph.

- Keep reversing to a minimum.

- No passenger should be carried (unless they use proper seating inside the vehicle).

- Don’t drive with raised attachments or extended tipping gear (Otherwise you may make the vehicle unstable or bring it into contact with power lines).

- Seek the assistance of a competent banksman/ signalman to negotiate hazardous or tricky spots.

Obey only signals that are clear and unambiguous

- Don’t tow a vehicle without suitable equipment.

Gradients

- Do not travel horizontally on steep gradients

- Never stop the engine on a gradient or coast down with the clutch disengaged.

- Never roll down a gradient with the engine stopped.

- Always keep attachments lowered to the ground.

Soft Ground

- Always travel into soft ground with the idlers to the front of the machine

- Move back at once if the machine begins to sink.

General Good Practice

- Position the machine on level ground and a safe distance from existing excavations or scaffolding.

- All site personnel should be fully clear of the working area.

- Clear the area of all obstructions or plant that might be damaged.

- Never operate control levers from outside the cab.

- Don’t stand under any raised load or attachment – and don’t allow anyone else to do so.

- Check the position of all underground services and ask that they be exposed by hand.

- If you’re working in a confined area – or if the attachment is out of sight – ask for a competent banksman/ signalman.

- Never lean out of the cab in such a way as to place yourself below the moving arm of a machine.

- Don’t drive or reverse too close to the edge of an excavation. It is better to tip materials well back from the edge and push them in afterwards.

- Place spoil a safe distance from the edge of excavations so as to prevent danger to people working below.

Parking

- Where the machine is unattended – even for a short time – the engine should be stopped and the keys removed.

- The operator should:

  - Lower all attachments before stopping the engine

  - Avoid parking on a slope or near excavation banks

  - Apply parking brakes (where applicable).

- Use steps and handrails provided – don’t jump out of a machine.

- The machine should be locked and secured to prevent unauthorised access (e.g. by children)

DRINK AND DRUGS POLICY

Employees must not use, possess or be under the influence of illegal drugs, alcohol or other substances (e.g. adhesive solvents) while at work. 

Breach of this rule will be treated as serious misconduct and may result in dismissal.

The Company reserves the right to carry out random drug or alcohol testing as part of its safety procedures.

Any employee who, under medical supervision, is using prescription drugs that might impair their physical co-ordination or alertness must report the details to the operations manager before operating any equipment.

HAZARDOUS SUBSTANCES

There are many substances, commonly found on construction sites, which can be hazardous to your health.  These include:

- Cement, mortar & concrete (both wet and in dust form)

- Fuels & lubricating oils

- Paints and solvents

- Cleaning agents

- Adhesives

Concrete/ Cement Dust

- Try to prevent such dusts becoming airborne – for example, where possible:

  - Use a water hose to dampen floors and surfaces

  - When sawing concrete or masonry, use saws that provide either water to the blade or exhaust ventilation

  - Use a dust collection system

- You need protection for your eyes, mouth and nose. Use goggles/ safety glasses and dust masks.

- Use good work practices to minimize exposures to nearby workers.

Wet Cement, Mortar & Concrete

- These can irritate the skin and cause dermatitis.

- Avoid skin contact with these materials – use protective gloves, barrier creams, Wellington boots etc.

- If cement, concrete or mortar gets on to your skin, wash your skin thoroughly.

- If any gets into your eye, wash it out immediately with clean water and seek medical advice

- Report any sign of a skin rash to your supervisor/ site safety officer

- Wash your hands thoroughly before eating, drinking, and at the end of each shift.

Fuels & Lubricating Oils

- Avoid direct contact with hands.

- Use proper protective equipment (for both eyes and hands)

- Always wash your hands after use.

- Fuels and oils should only be properly stored in suitable containers or tanks.

- Only the normal daily requirement of highly inflammable fuels (e.g. petrol) should be allowed on site.

- Don’t allow any naked flame near a fuel storage area

Paints, Solvents, Epoxy-Resins, Cleaning Agents etc

- Information about the safe handling, storage and use of these products will usually be shown both on the container label and in Material Safety Data Sheets (MSDS) supplied by the manufacturers.

- Make sure that you fully know the risks involved in handling these products, e.g.

  - Always read the instructions label – and look out for the hazard-warning symbol

  - Obtain the MSDS for the product (available from the Site Safety Officer)

  - Familiarise yourself with the EU hazard symbols (shown on page XX below)

- If you don’t fully understand the information given, ask your supervisor or the Site Safety Officer to explain it.

- Always wear the proper protective clothing and equipment (as specified)

- Never eat, drink or smoke when using these products

- Avoid contact with the skin, eyes and clothing – and don’t allow such substances near your mouth or into your lungs.

- Remember to wash your hands (and other exposed areas) regularly while using or handling these substances

- Never put substances into unmarked or unsuitable containers.

- Dangerous residues can remain in what might appear to be an ‘empty’ container – so take care in handling used containers.

PERSONAL STEREOS & MOBILE PHONES

As part of its safety policy, the Company must see to it that employees are not distracted while carrying out their duties. For that reason, employees are forbidden from using any personal entertainment equipment (e.g. personal stereos) while at work.

Similarly, employees with mobile phones should switch them off while on duty. They should only be switched on during a recognised rest period.

Some of our customers completely ban the use of mobile phones in certain parts of their premises. This is done for safety reasons. You must obey any such rules at all times. Failure to do this could trigger an explosion or fire.

OVERHEAD POWER LINES

Every year, people are killed and injured by accidental contact with overhead power lines. 

The ESB’s overhead lines are bare conductors. Touching them (or coming near them) can be lethal – whether they are carrying voltages as high as 400,000 volts or as low as 220 volts.

You must take extreme care when working near power lines. 

Where possible, the lines should be made dead and visibly grounded. Where this isn’t practicable, strenuous safety measures must be taken.

Overhead lines must be protected by guards, barriers or ‘goal posts’ and warning signs to prevent danger. The exact precautions required will depend on the nature of the work being done. (See Company’s Safety Statement.)

Never assume that power lines have de-energized. The ESB should be on site to verify that this has been done.

What to do if your lorry or machine comes into contact with an overhead line:

- Remain inside the cab.

- Warn all other personnel to keep away and not to touch any part of the machine/ lorry.

- Try, unaided and without anyone approaching the machine/ lorry, to move the vehicle until it is clear of the power line

- If the lorry/ machine cannot be moved away, remain inside the cab. If possible, get someone to inform the ESB at once. Take no action until it has been confirmed that conditions are safe.

- If it is essential to leave the cab because of fire or some other reason, jump clear as far away from the vehicle as possible. Do not touch the vehicle and the ground at the same time.

- Inform the person in charge of the situation immediately and – until assistance is received – someone should remain near the vehicle to warn of the danger.

VERMIN

- Contact with rats’ urine – whether directly or via contaminated water – carries a serious, and possibly fatal, risk to health (e.g. Weil’s Disease).

- Those working near water are at greatest risk.

- If there is any risk of rats on site:

  - Cover any cuts and abrasions, however small, with sterile waterproof dressings

  - Get all cuts treated by a doctor or nurse

  - Wear suitable protective clothing – e.g. gloves, overalls etc.

  - Regularly wash your hands and forearms using soap and hot water

- Should you suffer any flu-like symptoms, let your doctor know that you work on construction sites. He/ she will quickly check whether you have Weil’s disease (This is easily treated if caught in time)

- Vermin control measures should be regularly used on all sites.

- Never leave food waste lying around – it encourages vermin.

- Don’t handle the carcasses of vermin found on site.

- Remember, the risk of disease continues even after rats have left the site

- If you fall into contaminated water, seek medical advice right away.

DRAINAGE/ SEWERS

- You can pick up very nasty infections – e.g. hepatitis, Weil’s disease, gastroenteritis etc – if you’re working near sewers/ sewage.

- You must always wear the proper personal protective equipment (e.g. gloves, overalls etc)

- People who deal regularly with open sewers should be vaccinated against hepatitis.

- Avoid breathing in sewage dust or spray

- Don’t touch your face or eat, drink or smoke until after you have washed your hands and face thoroughly with soap and water

- Clean all exposed wounds, however small, and cover with a sterile waterproof dressing.

- Clean contaminated equipment on site.

- Don’t take home contaminated clothing for washing

- If you suffer from any skin problem, seek medical advice before working with sewage.

- Consult your doctor in the event of:

  - Flu-like illness or fever (especially if associated with severe headache and skin infections);

  - Persistent chest symptoms (particularly if associated with asthma or alveolitis)

VIBRATION

Excessive vibration from power-tools (e.g. ‘Kango’ hammers) can cause permanent injury to your hands and arms. These injuries can damage your blood circulatory system (e.g. vibration white finger), sensory nerves, muscles, bones and joints.

The following steps should be taken to lessen the risks from high vibration tools:

- Only trained, experienced operators should use powered hand-tools.

- The tools must be used in accordance with the manufacturer’s instructions

- If it is safe and practical, the operator should wear heavy industrial gloves, to reduce the transfer of vibration to bones and joints.

- Vibration absorbing handles should be fitted where practicable.

- Job rotation should be considered – and operators should take enough breaks from the work to allow for adequate recovery.

- Workers should try to keep their hands warm (to get a good flow of blood into the fingers) by:

  - Wearing gloves;

  - Having hot food or drinks;

  - Massaging the fingers;

  - Not smoking (as this can cause narrowing of the blood vessels).

MOBILE CRANES

Cranes are carefully designed and made so that they can safely lift or move heavy loads. But the manufacturers only guarantee the safety of their cranes when certain checks and procedures are done. For example, the cranes must be operated within their design limits. They must also be regularly inspected and properly maintained.

Because cranes have the ability to lift heavy loads to great heights, they also have the potential to cause catastrophic accidents if safe operating practices are not strictly followed.

So stick to the laid-down safety procedures. Never deviate from them. Respect the crane at all times.

Daily Inspections

At the start of each shift, the operator should walk around the crane looking for defects or problem areas. Here are some of the things to watch out for:

- Check that all exposed moving parts are guarded. A missing guard may indicate that a mechanic is still working on part of the crane.

- Look out for defects in any of the components that are used in lifting, swinging, or lowering the load or boom;

- Inspect all wire ropes (including standing ropes), sheaves, drums, rigging, hardware, and attachments. 

Any hook that is deformed or cracked must be removed from service. (e.g. hooks with excessive throat openings of 15% or more, or hook twists of 10 degrees or more.)

- Check that all swivels rotate freely

- Visually inspect the boom and jib for straightness and any evidence of physical damage (e.g. cracking or bending of the welds.)

- Look for corrosion under any attachments that are connected to the chords and lacing.

- Watch carefully for cracking or flaking of paint. (May indicate metal fatigue.)

- Look for bent or kinked lacing on lattice booms. 

This precaution is especially important on tubular booms where every component must be straight and free from any dents. 

Don’t try to straighten these members by hammering or heating them and drawing them out. They must be cut out and replaced with lacing to the manufacturer's specifications, procedures, and approval.

- Inspect tyres for cuts, tears, breaks, and proper inflation.  Under no circumstances should employees try to inflate or repair tyres themselves.

- Visually inspect the crane for fluid leaks, both air and hydraulic.

- Make sure that the crane is properly lubricated. The fuel, lubricating oil, coolant and hydraulic oil reservoirs should be filled to proper levels.

- Check that the crane is equipped with a fully charged fire extinguisher

- Check that all of the following things are working properly: sheaves, drums, brakes, locking mechanisms, hooks, the boom, jib, hook rollers brackets, outrigger components, limit switches, safety devices, hydraulic cylinders, instruments, and lights.

- Check the turntable connections for weld cracks and loose or missing bolts. If they are loose, there is a good chance that they have been stretched.

- When checking the outriggers be sure that neither the beams nor the cylinders are distorted. Check that the welds are not cracked and that both the beams and cylinders extend and retract smoothly and hold the load. 

Check the condition of the floats, and check that they are securely attached.

- Inspect and test all brakes and clutches for proper adjustment and operation.

Structure of Crane

Every part of the crane (including all attachments and components) must be kept in good, sound, working condition. If you have any doubts, don’t use the crane until it is properly checked-out.

Crane Set-Up

Check for obvious hazards on site (e.g. power lines)

Make sure that the crane is level and stable – and that any outriggers are properly extended.

Power Lines

It is highly dangerous for cranes to work under power lines (because of electrocution risk).

Where possible, power lines should be de-energized and visibly grounded.

Never assume that power lines have de-energized. The ESB should be on site to verify that this has been done.

Cranes must never – ever – be used unless a minimum clearance of 10 feet has been provided.

NOISE

Exposure to loud noise is a serious health hazard.  Over time, excessive noise can cause irreversible deafness – sometimes so bad that even hearing aids are of little or no use.

Loud noise can also contribute to accidents – by distracting attention, affecting concentration and by preventing people hearing audible warnings.

Where possible, noise should be eliminated or reduced at source – but often this isn’t done. In such circumstances, the best available option is to use the ear protection provided. 

It’s not a great solution to the problem but, at least, it’s better than doing nothing about noise.

If you need to shout to make yourself heard at a distance of 2 metres, you should be using proper ear protection. 

Even where the loud noise isn’t very prolonged – as you might get, for example, with cartridge-operated tools – you still need full ear protection.

Of the equipment available, the standard issue ear defenders are probably the best to use. At the other end of the scale, plugs of cotton wool are useless – they offer no hearing protection.

Remember that to be effective, ear protectors must be worn all the time you are in the noisy area.

MAJOR HAZARDS ON SITES

TRIPPING HAZARDS

Typical causes:

- Untidiness caused by a build-up of waste materials during construction;

- Poor storage;

- Poor lighting (especially when work is done after dark or inside buildings);

- Poor access

FALLING OBJECTS

Typical causes:

- People accidentally dropping things (hand tools, bricks etc)

- Poor standards of housekeeping on working platforms;

- Toe boards and barriers either missing or inadequate;

- Incorrect or careless hooking and slinging of loads;

- Demolition materials being thrown to the ground;

- Failure to install netting, brick-guards etc to catch falling debris.

FALLS FROM LADDERS

Typical causes:

- Ladders slipping outwards at the base or falling away at the top

- Use of defective ladders

- Over-reaching

- Using ladder as a working platform (e.g. undertaking strenuous tasks from it)

FALLS FROM HEIGHTS

Typical causes:

- No proper edge protection / barriers provided;

- Unprotected floor openings;

FALLS FROM WORKING PLATFORMS

Typical causes:

- Unfenced or poorly fenced working platforms;

- Inadequate or defective boarding;

- No proper toe boards

COLLAPSE OF EXCAVATIONS

Typical causes:

- Inadequate timbering and shoring:

- Shifting sands;

- Equipment / materials placed too close to edge of excavation;

- Large volumes of water;

MACHINERY

Always:

- Use only machines that you are trained and authorised to use

- Know how to stop the machinery before you start it.

- Check that all safety devices/ guards are in place.

- Keep your hands away from moving parts

- Cut off all power (electric/ pneumatic/ hydraulic) before making adjustments or clearing jams

- Switch off machines when not in use

- Make sure that the area around the machine is clean and tidy

- Tell your supervisor right away if you think the machine is not working properly.

- Wear the required safety gear (e.g. goggles, ear protectors etc)

Never:

- Use a machine or appliance which has a danger sign or tag attached.

- Wear loose clothing or jewellery – and always tie back long hair.

- Disturb others who are using machinery.